## histology
study | sample | device | criteria | sens | tp | fn | tn | fp | design | teeth | pts | note
Bruno et al 2009 |  | Kerr Endoanalyser | Partial or complete collagen hyalinization, and absence or advanced degeneration of blood vessels, cell nuclei and nerve bundles. | 0.5 | 10 | 10 |  |  | case-only |  |  | prior trauma
Dummer et al 1980 |  | Scoone’s unipolar pulp tester | Coagulation or liquefaction necrosis | 0.125 | 4 | 28 | 43 | 0
Johnson et al 1970 |  | Vitalometer | No vital tissue | 0.57143 | 20 | 15 | 322 | 4
Moody et al 1989 |  | Custom-made unit with a constant-current | No cellular pulp tissue | 0.83333 | 10 | 2 | 27 | 11
Reynolds et al 1966 |  | Parkell Vitalometer Model T-6 | 2 total NP -> no response, 1 partial necrosis -> + at 10 dial | 0.66667 | 2 | 1 | 53 | 0
Seltzer et al 1963 |  | Burton Vitalometer & Ritter unit pulp tester | Coagulation or liquefaction necrosis | 0.72222 | 13 | 5 | [5 empty] | ? Reconcile with Mainkar
Reiss & Furedi 1933 |  | Parkell Vitalometer Model T-6 | Including partial necrosis | 0.57576 | 19 | 14

## clinical
study | sample | device | criteria | sens | tp | fn | tn | fp | design | teeth | pts | note | other
Farid et al 2015 | 25.73±18.7 yr (17 – 70)<br/>47/75 molars or PM | Parkell Gentle-Pulse | non-vital: > No. 5 marking | 0.88 | 22 | 3 | 41 | 9
Evans et al 1999 | 13.5 yr (8 – 33.5)<br/>All ant. Teeth | Analytic Technology |  | 0.86792 | 46 | 7 | 79 | 4 | case-control |  |  | False negative - 7 were coronal necrosis | digitized figure
Ingolfsson et al 1994 | 23.1 yr (11 – 37) clinical and PA lesion not specified<br/>All ant. Teeth | Analytic Technology |  | 0.63636 | 7 | 4 | 10 | 0 |  |  |  | 3 - PA lesion; 1 - abscess | 10 control all correctly identified
Shahi et al 2015 | (4 – 15)<br/>Primary and permanent teeth need RCT (N=50) | Parkell Digitest |  | 0.75862 | 22 | 7 | 35 | 6
Villa-Chaves et al 2013 | 38±15 (17 – 70)<br/> 36/50 molars or PM | Analytic Technology |  | 0.76 | 38 | 12 | 60 | 0
Weisleder et al 2009 | (18 – 76)<br/>Student clinic<br/>No tooth type specified | Analytic Technology |  | 0.75 | 48 | 16 | 79 | 7
Dastmalchi et al 2012 | (18 – 50)<br/>mand. PM single-canaled | Analytic Technology |  | 0.22222 | 2 | 7 | 9 | 6
Petersson et al 1999 | (20 – 79)<br/>Student clinic<br/>64/72 molars or PM | Analytic Technology | Non-vital: > 50 | 0.72414 | 21 | 8 | 27 | 3
Gopikrishna et al 2007 | No age data<br/>Single canaled incisors, canines and PM | Parkell pulp tester | Non-vital: readout > contralateral | 0.71429 | 30 | 12 | 35 | 3
Janani et al 2020 | No age data<br/>Single rooted teeth requiring RCT (deep caries or elective) | Not specified | Non-vital: readout > contralateral | 0.76923 | 30 | 9 | 27 | 13

## root_canal_filled
study | sample | device | criteria | sens | tp | fn | tn | fp | design | teeth | pts | note
Chen & Abbott 2011 | No age data<br/>Diseased pulp/RCF/RCT<br/>N = 9 | Analytic Technology |  | 0.78571 | 11 | 3 | 166 | 3 |  |  |  | unknown sample size of RCF
Cooley et al 1984 | No age data<br/>12-ant, 14-molar, 4-PM | Analytic Technology |  | 0.93333 | 28 | 2 | [5 empty] | Initial 2 false positives but turned negative after proper isolation
Cooley & Robison 1980 | No age data<br/> No tooth type | Perkall, Digilog |  | 1 | 2 | 0 | [5 empty] | Negative pulses<br/>Not constant current
Fuss et al 1986 | No age data<br/> No tooth type | Analytic Technology |  | 1 | 10 | 0 | [5 empty] | No pdl spreading
Karayilmaz & Kirzioglu 2010 | 12-18 yr<br/>Incisors | Parkell, Pulptester PT-20 |  | 0.91525 | 54 | 5
Peters et al 1994 | No age data<br/> No tooth type | Analytic Technology |  | 0.55789 | 53 | 42 | [5 empty] | On restoration
|  | Parkell, Digilog |  | 0.55789 | 53 | 42
Shahi et al 2015 | 4-15 yr<br/>Primary 2nd & permanent 1st molar | Parkell, Digitest |  | 0.75862 | 22 | 7 | 35 | 6