## histology
study | sample | device | criteria | sens | tp | fn | tn | fp | design | teeth | pts | note
Bruno et al 2009 |  | Endoanalyser (Kerr, Oragne CA) | Partial or complete collagen hyalinization, and absence or advanced degeneration of blood vessels, cell nuclei and nerve bundles. | 0.5 | 10 | 10 |  |  | case-only |  |  | prior trauma cases. Necrosis was determined by 3 out of 5 clinical tests: pecussion sensitive, crown discoloration, no response to thermal and EPT tests, pain on palpation and increased mobility. Pulp extirpated for histology.
Dummer et al 1980 |  | Scoone’s unipolar pulp tester | Coagulation or liquefaction necrosis | 0.08 | 4 | 46 | 25 | 0 |  | 75 |  | last 3 caregories not salvagible N=50; different from Mainkar's data
Johnson et al 1970 |  | Vitalometer | No vital tissue | 0.58333 | 21 | 15 | 322 | 3 |  | 361 |  | 24 teeth no response (21+3); 35 total necrosis (20 no response, 15 responded); different from Mainkar 361-15-21-3=322
Moody et al 1989 |  | Custom-made unit with a constant-current | No cellular pulp tissue | 0.66667 | 8 | 4 | 23 | 15 |  | 50 |  | 7 total necrosis; 5 coronal necrosis monopolar, 10 ms Mainkar used bipolar 10 ms <200 microA data
Reynolds et al 1966 |  | Parkell Vitalometer Model T-6 | 2 total NP -> no response, 1 partial necrosis -> + at 10 dial | 0.66667 | 2 | 1 | 53 | 0
Seltzer et al 1963 |  | Burton Vitalometer & Ritter unit pulp tester | Coagulation or liquefaction necrosis | 0.46512 | 20 | 23 | 84 | 2 |  | 129 |  | ? Reconcile with Mainkar Total necrosis N=18 (72% N=13 did not respond); parital necrosis N=25 and 7 did not respond. 13+7=20 as TP. False +: 18+16+34+18=86, 86x0.023=2FN=18+5=23. partial +total necrosis = 43. 43x0.53=23.
Reiss & Furedi 1933 |  | Parkell Vitalometer Model T-6 | Including partial necrosis | 0.58333 | 21 | 15 |  |  |  | 130 |  | 24x0.875=21 necrotic with negative response which is 58% of necrotic pulp
Stephan et al 1937 | [9 empty] | 37
Prinz 1922
Prinz 1928

## histology total necrosis only
study | sample | device | criteria | sens | tp | fn | tn | fp | design | teeth | pts | note
Bruno et al 2009 |  | Endoanalyser (Kerr, Oragne CA) | Partial or complete collagen hyalinization, and absence or advanced degeneration of blood vessels, cell nuclei and nerve bundles. | 0.5 | 10 | 10 |  |  | case-only |  |  | prior trauma cases. Necrosis was determined by 3 out of 5 clinical tests: pecussion sensitive, crown discoloration, no response to thermal and EPT tests, pain on palpation and increased mobility. Pulp extirpated for histology.
Dummer et al 1980 |  | Scoone’s unipolar pulp tester | Coagulation or liquefaction necrosis | 0.21053 | 4 | 15 |  |  |  | 75 |  | last 3 caregories not salvagible N=50; different from Mainkar's data
Johnson et al 1970 |  | Vitalometer | No vital tissue | 0.57143 | 20 | 15 |  |  |  | 361 |  | 24 teeth no response (21+3); 35 total necrosis (20 no response, 15 responded); different from Mainkar 361-15-21-3=322
Moody et al 1989 |  | Custom-made unit with a constant-current | No cellular pulp tissue | 0.875 | 7 | 1 |  |  |  | 50 |  | 7 total necrosis; 5 coronal necrosis monopolar, 10 ms Mainkar used bipolar 10 ms <200 microA data
Reynolds et al 1966 |  | Parkell Vitalometer Model T-6 | 2 total NP -> no response, 1 partial necrosis -> + at 10 dial | 0.66667 | 2 | 1
Seltzer et al 1963 |  | Burton Vitalometer & Ritter unit pulp tester | Coagulation or liquefaction necrosis | 0.72222 | 13 | 5 |  |  |  | 129 |  | ? Reconcile with Mainkar Total necrosis N=18 (72% N=13 did not respond); parital necrosis N=25 and 7 did not respond. 13+7=20 as TP. False +: 18+16+34+18=86, 86x0.023=2FN=18+5=23. partial +total necrosis = 43. 43x0.53=23.
Reiss & Furedi 1933 |  | Parkell Vitalometer Model T-6 | Including partial necrosis | 0.65217 | 15 | 8 |  |  |  | 130 |  | 24x0.875=21 necrotic with negative response which is 58% of necrotic pulp
Stephan et al 1937 | [9 empty] | 37
Prinz 1922
Prinz 1928

## clinical
study | sample | device | criteria | sens | tp | fn | tn | fp | design | teeth | pts | note | other
Farid et al 2015 | 25.73±18.7 yr (17 – 70)<br/>47/75 molars or PM | Parkell Gentle-Pulse | non-vital: > No. 5 marking | 0.88 | 22 | 3 | 41 | 9 |  | 75 |  | no microscope; not able to figure out the number of non-vital and vital teeth; numbers were copied from Mainkar
Evans et al 1999 | 13.5 yr (8 – 33.5)<br/>All ant. Teeth | Analytic Technology |  | 0.86792 | 46 | 7 | 0 | 0 | Case-control | 53 |  | False negative - 7 were coronal necrosis 53x0.87=46 Access necrotic teeth with anesthesia | digitized figure
Ingolfsson et al 1994 | 23.1 yr (11 – 37) clinical and PA lesion not specified<br/>All ant. Teeth | Analytic Technology |  | 0.63636 | 7 | 4 | 10 | 0 | Case-control | 21 |  | 4 FP response: 3 cases - PA lesion; 1 case - abscess | 10 control all correctly identified
Shahi et al 2015 | (4 – 15)<br/>Primary and permanent teeth need RCT (N=50) | Parkell Digitest |  | 0.44444 | 4 | 5 | 35 | 6 |  | 50 |  | no specify permernant or primary molars, no microscope. Mainkar combined groups I and IV so his total was N=70. N=50 (Gr. 4) in need of RCT. Differenet from Mainikar
Villa-Chavez et al 2013 | 38±15 (17 – 70)<br/> 36/50 molars or PM | Analytic Technology | Non-vital: >70 | 0.76 | 38 | 12 | 60 | 0 |  | 110 |  | 50 non-vital teeth; 60 vital teeth
Weisleder et al 2009 | (18 – 76)<br/>Student clinic<br/>No tooth type specified | Analytic Technology |  | 0.75 | 48 | 16 | 79 | 7 |  | 150 |  | no microscope; undergrad students. Vitalpulp N=86; Nonvital=64; no actual # but calculate back with the % provided by authors
Dastmalchi et al 2012 | (18 – 50)<br/>mand. PM single-canaled | Analytic Technology |  | 0.22222 | 2 | 7 | 9 | 6 |  | 24 |  | needing RCT without clinical sign of necrosis
Petersson et al 1999 | (20 – 79)<br/>Student clinic<br/>64/72 molars or PM | Analytic Technology | Non-vital: > 50 | 0.72414 | 21 | 8 | 27 | 3 |  | 59 |  | extra 16 intact teeth responded to EPT and no access as positive controls.
Gopikrishna et al 2007 | No age data<br/>Single canaled incisors, canines and PM | Parkell pulp tester | Non-vital: readout > contralateral | 0.71429 | 30 | 12 | 35 | 3 |  | 80 |  | contralateral as the standard. > contralateral = negative response
Janani et al 2020 | (18 - 56)<br/>Single rooted teeth requiring RCT (deep caries or elective) | Not specified | Non-vital: readout > contralateral | 0.66667 | 26 | 13 | 31 | 9 |  | 79 |  | different from Patro's paper

## root_canal_filled
study | sample | device | criteria | sens | tp | fn | tn | fp | design | teeth | pts | note
Chen & Abbott 2011 | No age data<br/>Diseased pulp/RCF/RCT<br/>N = 9 | Analytic Technology |  | 0.78571 | 11 | 3 | 166 | 3 |  |  |  | unknown sample size of RCF
Cooley et al 1984 | No age data<br/>12-ant, 14-molar, 4-PM | Analytic Technology |  | 0.93333 | 28 | 2 | [5 empty] | Initial 2 false positives but turned negative after proper isolation
Cooley & Robison 1980 | No age data<br/> No tooth type | Perkall, Digilog |  | 1 | 2 | 0 | [5 empty] | Negative pulses<br/>Not constant current
Fuss et al 1986 | No age data<br/> No tooth type | Analytic Technology |  | 1 | 10 | 0 | [5 empty] | No pdl spreading
Karayilmaz & Kirzioglu 2010 | 12-18 yr<br/>Incisors | Parkell, Pulptester PT-20 |  | 0.91525 | 54 | 5
Peters et al 1994 | No age data<br/> No tooth type | Analytic Technology |  | 0.68852 | 42 | 19 | [5 empty] | On restoration
Shahi et al 2015 | 4-15 yr<br/>Primary 2nd & permanent 1st molar | Parkell, Digitest |  | 0.9 | 18 | 2 | 0 | 0 |  |  |  | total N=20
Weisleder et al 2009 | not specified age or tooth tooth type. Used as a negative control | Analytic Technology |  | 1 | 10 | 0 | 0 | 0 |  | 10 |  | student operators
Peters et al 1994 | No age data<br/> No tooth type | Digilog |  | 0.59016 | 36 | 25 | [5 empty] | On restoration